## Slide 1: Initial Spotting of Lines
April 15, 2014

## Slide 3
3
2
1
3
2
1

## Slide 4
3
2
1
Sum to 227 = 2948
Sum to 227 = 2744
Sum to 227 = 2704
Plain nitrocellulose

## Slide 5
*Note
Taken from histogram data
Areas not exactly the same – arbitrarily drawn as similar as possible
Does not include edges of paper
All data from DRY test strips

## Slide 6
Size Comparison
Standard lateral flow test line width= 0.64 – 0.67 mm
Spotted Lines width = ~0.5 mm at minimum, ~0.61 mm at maximum
- 2 “lines” dot pitch 250nm